## Slide 1: Spatial and Time Correlated Detection of the Decay Chain of Radioactive Nuclei
Carlos Granja, Jan Jakubek, Michal Platkevic, Stanislav Pospisil
Institute of Experimental and Applied Physics
Czech Technical University in Prague
Ulli Köster
Institute Laue Langevin ILL, Grenoble, France
Research with pixel detector in frame of the Medipix Collaboration

## Slide 2: Outline
IEAP CTU + 2.5 MeV VdG accelerator
Radiation imaging (X-ray phase contrast, n imaging)
Radiation detection & nuclear spectroscopy
  Fission fragment spectroscopy (correlations & angular distributions)
  Separation of nuclear reaction (charged particle) products at solenoid focal plane
Position sensitive hybrid pixel detectors Medipix
  Per–pixel energy– and time– sensitive Timepix device
  Timepix + USB readout interface + Pixelman SW → Portable Radiation Camera
Spatial– and time– correlated detection of radioactive nuclei
  Event-by-event RO [TIM mode + ext trigger]
    Charged particle decay chain 8He → 8Li → 8Be → 2a
  High count rate: extended shutter [TOT mode + trigger ext clock]
    Radioactive isomer & isomer decay (IC e’s): 98mY
Future (registration of short-lived (µs–s) decay of n rich radioactive nuclei)
www.cern.ch/medipix

## Slide 3: www.utef.cvut.cz

## Slide 4: 2.5 MeV VdG at IEAP CTU in Prague
E = 0.3 – 2.5 MeV; I = 0.5-50 µA
p,d,4He; 3He (future)
n (qm & monochromatic 40-60 keV, 4 MeV,15 MeV)

## Slide 5: Radiation Imaging Detectors
Film emulsions change of chemical or physical properties after interaction with radiation. Needs special treatment (developing process, scanning, …).
Very high resolution
Low noise
Cheap
Nonlinear response
Limited dynamic scale
Needs processing
Charge integrating devices
Ionizing radiation creates charge which is collected and integrated in pixels (CCD, CMOS sensors, Flat panels, …)
High spatial resolution
Low price
Dark current
Noise
Limited dynamic scale
+
–
+
–
Particle counting pixel detectors
Ionizing radiation creates charge which is compared with threshold and counted digitally in pixels
Good spatial resolution
High read-out speed
No noise, no dark current
Linear response
Wide (unlimited) dynamic
range/contrast
+
+
Jan Jakůbek, IEAP CTU Prague

## Slide 6: Applications: Radiation Imaging
1 mm
X-rays: intensity
30 mm
X-rays: phase
Neutrons: intensity
Ions: energy
X-rays: energy
X-rays: polarization
Area of transmission
Neutrons: energy
Ions: direction
Jan Jakůbek, IEAP CTU Prague

## Slide 7: X-ray phase contrast imaging: Edges are enhanced in radiograms
ILL Grenoble 25th April 2007
Edges are enhanced
by phase effects
Mouse Kidney
Termite head
Jan Jakůbek, IEAP CTU Prague
100 um
Notes: 7
Next, we used the detector medipix for imaging of animal tissue. In this picture we concentrated (konsentreit) on mouse kidneys. We were looking for presence of tumors in mouse kydney. The first picture presents the kidney without tumor cells. Also you can see different magnification. We clearly observe (ebzerv) the inside structure of kidney.

## Slide 8: Primary Application: High contrast imaging Mouse backbone and pelvis
Soft tissue organs well recognized
Bone structure nicely imaged
Very light objects resolved (hairs)
In-vivo imaging
Strange textured noise
Not a noise:
We can resolve individual hair fibers through the mouse body !
Jan Jakůbek, IEAP CTU Prague

## Slide 9
Quaternary fission
HF

LF

HF
8Be
LF


“True” Quaternary Fission
“Pseudo” Quaternary Fission
search for other rare decay modes in fission – e.g. quinary fission (12C* → ++), collinear fission.
Position Sensitive
Fission Fragment Spectroscopy
Measurement of angular and energy distributions and spatial correlations of ternary and quaternary particles.
.Determination of quaternary fission yields with high accuracy and sensitivity
Direct observation of 8Be emission as a ternary particle in the ground and excited state
Search for other rare decay modes in fission – e.g. quinary fission (12C* → ++), Collinear fission?

## Slide 10: Timepix + th n beam (NPI Řež n. Prague)
Fission fragment detection
TimePix
target
Neutron beam
target foil
235U
Fission event
TimePix
Medipix2
Principle
Experimental setup
two detectors in coincidence
Ext PA+Amp+ADC  trigger
target : 235U, 239Pu
Medipix2
USB1.0
USB1.0

## Slide 11
717.7 ms
717.5 ms
717.7 ms
752.9 ms
752.9 ms
759.4 ms
A
A
B
B
759.4 ms
Time stamp + Spatial correlation
Notes: F_uncal = load(['01 data nb vasek\005_TPXbezSpectrometruNizkeTHLBestSNR_TimepixMode_JenFragmenty\J06-W0082\J06_data_r', e, '_.txt']);

## Slide 12
Radioactive ions: RIBRAS Sao Paulo
9Be(7Li,8Li)
6.5 T SC solenoid
Pelletron
8 MeV/u
target
focal spot
6.5 T SC solenoid

## Slide 13: Timepix [TOT] @ focal spot Position & Energy: Radioactive ions
E = 1,3 MeV
A = 39 px
E = 2,7 MeV
A = 60 px
E = 28.1 MeV
A = 211 px
E = 22.7 MeV
A = 142 px
E = 3.1 MeV
A = 19 px
E = 312 keV
A = 25 px
E = 23.8 MeV
A = 146 px
E = 22.1 MeV
A = 139 px
E = 24.2 MeV
A = 146 px
Characterize the reaction products at focal plane (spot)

## Slide 14: Timepix [TOT] @ focal spot Position & Energy: Radioactive ions
322 keV
E = 10.1 MeV
127 keV
E = 8.4 MeV
E = 23.6 MeV

## Slide 15: Timepix [TOT] @ focal spot Position & Time: Radioactive ions
570 us
570 us
570 us
465 us
465 us
560 us
972 us
949 us
t = 1.2 ms

## Slide 16: Timepix [TOT] @ focal spot Position & Energy
E = 30.7 MeV
A = 147 px
C = 365 keV
PP = 2.6 MeV
E = 10.9 MeV
A = 392 px
C = 332 keV
E = 5.0 MeV
A = 52 px
C = 1.3 MeV
E = 2.9MeV
A = 62 px
C = 116 keV
E = 3.5MeV
A = 66 px
C = 118 keV
E = 9.5MeV
A = 6 px
C = 2.2 MeV
E = 23.8 MeV
A = 142 px
C = 861 keV
E = 5.6 MeV
A = 71 px
C = 362 keV
E = 20.8 MeV
A = 141 px
C = 525 keV
E = 24.4 MeV
A = 137 px
C = 921 keV
E = 11.8 MeV
A = 110 px
C = 380 keV
23.8 MeV
5.6 MeV
3.5 MeV
20.8 MeV
H
A
E

## Slide 17: Correlation: Energy vs. Height
H
E

## Slide 18: Spectra (Energy, Area, Height)
A
E
H
1
1
1
2
2
2
3
3
3
4
4
4
5
5
5
6
6
6
E
A
H

## Slide 19: Ion groups: Spectral+ Spatial Distribution
Ion group energy spectra
2D spatial image of focal spot ion spatial distribution
1H
Tentative ion assignments by the physics (reaction kinematics) and solenoid settings

## Slide 20: Medipix: Hybrid semiconductor single particle counting pixel detector
www.cern.ch/medipix
Semiconductor single photon pixel hybrid detector MEDIPIX
Detector chip
Medipix-2 chip
Bump-bonding
a, b, g
Planar (300, 700, 1000 mm) thick silicon pixel detector (also GaAs, CdTe, or n converter)
Bump-bonded to Medipix readout chip containing amplifier, discriminator and counter for each pixel.
Notes: The Medipix collaboration involves a number of European Universities and Research Institutes.
The Medipix2 is a second generation of a high spatial, high contrast resolving CMOS pixel read-out chip working in single particle counting mode
It can be combined with different semiconductor sensors which convert the ionizing particle directly into detectable electric signals
High sensitivity, large dynamic range and low contrast detectability, exceeding present charge integrating techniques
No sensitivity to dark currents, allowing for long exposure times under very low intensity illumination (medical applications)

## Slide 21: Per–pixel signal electronics
Principle of the hybrid pixel detectors where the sensor chip (top) is bump-bonded to the readout ASIC (bottom). Hybrid technology allows the use of different semiconductor sensors (e.g, Si, CdTe, GaAs) and thickness (e.g. 300, 700, 1000 um). Pulse processing electronics provides simultaneously fast and noise free images.
30 µm
55 µm

## Slide 22: Per–pixel integrated RO signal chain
Timepix pixel cell layout
Preamplifier
Threshold discriminator with 4-bit threshold equalization
8-bit (PCR) pixel configuration register
Reference clock buffer + (TSL) timepix synchronization logic
14-bit shift register and overflow control logic.
X. Llopart, et. al. NIM A 581 (2007) 485–494
analogue
digital
~ 1000 transistors
power consumption ~ 6:5 μW (analogue part)
Pixel signal threshold
~ 4 keV

## Slide 23: Timepix chip
Total power consumption
analogue: ~ 440 mW
digital: ~ 450 mW
Chip can be readout with
a 100MHz readout clock:
serially in ≤ 10 ms (LVDS)
in parallel ≤ 300 μs (32-bit CMOS)
Total 36 million transistors
CMOS 0.25 μs technology

## Slide 24: Particle counting pixel detectors
(Si)
Amplifier
Compa-
rator(s)
Counter: Particle count
000
001
Pixel electronics
Pixel electronics
Pixel electronics
+
Bias Voltage
Threshold
Level(s)
Pilatus - PSI
  60 x 97 pixels
  Pitch of 172 um
  Counter: 20 bits
  Single threshold
  Module: 16 chips (93 kPix)
  Large area - tilling
Medipix2/3 – CERN
  256 x 256 pixels
  Pitch of 55 um
  Two thresholds
  Module: 6 chips (393 kPix)
  Large area: tilling, under
  development (RELAXd)
Timepix - CERN
  The same size as Medipix2
  Time stamp
  Energy measurement in each pixel

## Slide 25: Direct measurement in each pixel of the particle’s energy or its interaction time.
Dt
Clock:
10–80 MHz
0006
Time-over-Threshold: TOT
Interaction Time: TimePix
Operation Modes
Clock:
10–80 MHz
t
Dt
t
Close shutter
0024
~ E
Range: 12 K channels
Timepix detector: Energy & Time sensitive single particle counting pixel detector
channel ≈ 1 keV
channel ≥ 100 ns
Pixel signal
Pixel signal
A
A
Wilkinson type ADC per pixel

## Slide 26: Timepix detector: Single particle counting pixel detector with per pixel E or T sensitivity
Medipix – MEDical Imaging PIXel detector
Semiconductor pixel hybrid device
High spatial, high contrast resolving CMOS pixel read-out chip
Array of 256x256 = 65 k pixels
Pixel size 55x55 mm²
Sensitive area of 14x14 mm²
Amplifier, discriminator, 13-bit counter in each pixel cell
Pixel clock (10–80 MHz)
Serial or parallel readout at 100MHz
Hybrid technology allows to use different semiconductor sensors
47 mm
79 mm
www.cern.ch/medipix
Threshold level above
electronic noise
No false counting.
Digital integration (counting)
No dark current.
high signal to noise ratio
wide dynamic range arbitrary exposure time.
Notes: The Medipix collaboration involves a number of European Universities and Research Institutes.
The Medipix2 is a second generation of a high spatial, high contrast resolving CMOS pixel read-out chip working in single particle counting mode
It can be combined with different semiconductor sensors which convert the ionizing particle directly into detectable electric signals
High sensitivity, large dynamic range and low contrast detectability, exceeding present charge integrating techniques
No sensitivity to dark currents, allowing for long exposure times under very low intensity illumination (medical applications)

## Slide 27: USB readout interface: control, power, DAQ
Compact size, plug and play, hot swap
Fully USB powered
Integrated source of variable detector bias voltage (5 – 100V)
External & internal triggering
and hardware timer
No limit for cable length (tested up to 40 meters!)
Back-side pulse monitoring for spectroscopic applications and triggering
Open system architecture - internal analog and digital interface for "plug-in" PCB modules connection
Z. Vykydal, J. Jakubek, S. Pospisil, NIM A 563 (2006) 112
FITPix – Fast Interface for Timepix Pixel Detectors: FPGA, USB 2.0, 80 fps, V. Kraus et al., J of Instrumentation 6 (2011) C01079

## Slide 28
Integrated analog module: fast self trigger

## Slide 29: Pixelman: Data Acquisition and Processing Software Package

## Slide 30: TPX + USB RO + Pixelman: Radiation Camera
Selectivity & Sensitivity: enhanced in TimePix (ToT mode)
The device can operate as a multi-radiation camera
Portability & configurability
Zero dark current (no backgrd)
Frame-rate up to 80 fps
Room temperature & noiseless operation
Vacuum operation, no cooling
Plug&Play with any PC
  Heavy charged particles (p,a,t, ions)
  Neutrons (equipped with converter)
Event by event measurement: single quantum counting
Online visualization & tracking mode spectroscopy
Trigger and coincidence
  Soft X-rays
  MIPS (electrons, muons, p, …)

## Slide 31: Charge sharing: Detection of heavy charged particles with pixel detectors
Cluster size depends on particle energy
Sigma = 1.1
5.4 MeV a source at 24 mm
(measured in air)
Signal by one
alpha particle
= cluster
2 detected clusters
Cluster size up to 90!
a particle
Pixel cells
Several adjacent pixels can be incremented when a single particle is detected due to charge diffusion during charge collection.
Pixels incremented by a single particle form a blob (cluster).

## Slide 32: TimePix: Heavy Charged Particles
fission
fragment
a
a
a pileup
with 252Cf source @ JINR Dubna
Energy per pixel [keV]

## Slide 33: Timepix: Detection of Radioactive Ions and their decay
Lohengrin Fission Fragment Mass Separator
Institute Laue Langevin (ILL), Grenoble

## Slide 34: Fission: n rich radioactive nuclei
Light fission fragments 235U(n,f)

## Slide 35: Institute Laue Langevin (ILL), Grenoble Lohengrin Fission Fragment Mass Separator
E/q
p/q
ΔE + Erest ioni chamber
p/q
Reactor active zone
target
- Flight path ~ 25 m → 2 μs.

## Slide 36: Institute Laue Langevin (ILL), Grenoble Lohengrin Fission Fragment Mass Separator
Time of Flight ≈ ms
Flight path ≈ 10m
4 wing diaphragm
RED IN diaphragm
RED IN diaphragm
RED magnet
Main magnet
Condensator
(E field separator)
Target
Timepix
Timepix
DE/E gass chamber
HpGe detectors
ILL High Flux
Reactor
≈ 3 m
Fissionable targets
(241Am, 239Pu, 238U, …)
Flexible, wide range,
low-intensity ion source
Fission products are selected according
to A, Z, ionization charge q and kin energy
Broad mass A=1-140 and energy range (4-110 MeV)
Radioactive ion beams

## Slide 37: TPX + Ionization Chamber + Trigger
Coincidence system – Selected ions from the ionization chamber are stopped in the Timepix detector where their full energy and subsequent decay are recorded. Gamma rays accompanying the decay are registered by HPGe detectors
J. Jakůbek, C. Granja, et al., "Direct Observation of Decay of Radioactive Nuclei with Spatial and Time Coincidence Technique", NIM A 633 (2011) S203-S205

## Slide 38: TPX + Ionization Chamber + Trigger
Segmented ionization chamber
Timepix

## Slide 39: Spatial & Time Detection

## Slide 40: Spatial & Time Detection: 8He
Time [ms]
Time exposure = 4.7s
Time step/channel = 400ms
Time of arrival/
interaction

## Slide 41: Spatial & Time Detection: 8He
Time [ms]
1.1 mm
8He (t = 0 ms)
a + a (t = 127.6 ms)
b– (t = 10.8 ms)
b– (t = 127.6 ms)

## Slide 42: Spatial & Time Detection: 8He
Time [ms]
Time exposure = 4.7s
Time step/channel = 400ms

## Slide 43: Spatial & Time Detection: 8He
Time [ms]
Time exposure = 4.7s
Time step/channel = 400ms
Time [ms]
t = 0 ms
t = 656.6 ms
t = 1423.6 ms
t = 1423.6 ms
1.1 mm

## Slide 44
Ion hits the sensor
First β-decay
Subsequent decay of daughter
nucleus by
emission of
one beta
and
two a‘s.
8He
8Li
8Be
β-
β -
α+α
Time = 0
+ 119 ms
+ 840 ms
Single 8He ion: decay chain sequence
TimePix
C. Granja, J. Jakůbek, et al., "Spatial and Time Coincidence Detection of the Decay Chain of Short-Lived Radioactive Nuclei", Amer. Insti. of Physics (AIP) Conference Proceedings Series, No. 1265 (2010) 497-500.
Pixel signal:
Notes: 44

## Slide 45: Spatial & Time Detection

## Slide 46: High statistics: integral shutter [TOT mode + trigger ext clock]
Under high background the Timepix mode (used above) cannot be applied because of pile-ups of other particles hitting the same area in the detector.
The solution is that each pixel is triggered individually in ToT mode
  Timepix is operated in ToT mode (each pixel counts clock pulses if the signal is over the threshold).
  The shutter is opened during all measurement.
  Each incoming ion identified by ΔE/E gas detector generates a trigger signal
  The trigger signal is delayed and used as a clock pulse for Timepix detector.
  The delay is set longer than shaping time of initial pulse from the ion (e.g. 98Y) – and therefore this event is not counted.
  If the original nucleus decays in time of clock pulse it is counted in the hit pixel.
  After many such events the complete frame is read-out.
  This frame contains a total number of decays occurring with preselected delay after the given ion (e.g. 98Y) detection.
  Changing the delay the decay curve can be measured

## Slide 47: High statistics: integral shutter [TOT mode + trigger ext clock]
TPX clock
Time
Ion β decay
Delay > 4 μs
Trigger
Amplitude

## Slide 48: Detection of isomer decay: IC e’s
Detection of internal conversion (IC) electrons
496.2 keV 98mY
496.2 keV
7.6 μs
98Y isomer

## Slide 49: 495.8 keV 98mY isomer
495.8 keV 98mY

## Slide 50: 495.8 keV 98mY isomer: T1/2
Decay curve of 98Y radioactive ions was measured by scanning altering delay). Decay half-live measured 8 μs. The offset curve denotes the uncorrelated background

## Slide 51: Conclusions
Radiation camera as active nuclear emulsion
  Particle tracking & online visualization
RI & charged particle decay: techniques
  Low background
  High background
Suppression of unwanted events/background
  (high selectivity, background suppression >104)
Position and time correlated technique
  register charged particle decay radiation
  measure decay times in range ms–s (and longer)
  registration of sequential decay chain
  techniques demonstrated (8He, 98mY)
Timepix + FITPix + Pixelman:
spectroscopy of implanted radioactive ions

## Slide 52
Stanislav Pospíšil, Jan Jakůbek
Michal Platkevic
Institute of Experimental and Applied Physics
Czech Technical University in Prague
Ulli Köster
Institute Laue-Langevin (ILL)
Grenoble, France
CERN Medipix Collaboration
www.utef.cvut.cz/medipix
www.cern.ch/medipix
Acknowledgments
500 μm
www.ill.eu

## Slide 54: Direct measurement in each pixel of the particle’s energy or its interaction time.
www.cern.ch/medipix
N+
P+
Si
Counter: Clock oscillat
+
Amplifier
Compa
rator
000
0006
Threshold level above
electronic noise
No false counting.
Digital integration (counting)
No dark current.
Wide dynamic range, arbitrary exposure time.
Bias Voltage
Common
back-side
electrode
Pixelated
front-side
electrode
Pixel electronics
Threshold
level
Hybrid Semiconductor Pixel Detector Single particle counting pixel detector + POS + E + T sensitive
clock
Wilkinson type ADC per pixel
Notes: The Medipix collaboration involves a number of European Universities and Research Institutes.
The Medipix2 is a second generation of a high spatial, high contrast resolving CMOS pixel read-out chip working in single particle counting mode
It can be combined with different semiconductor sensors which convert the ionizing particle directly into detectable electric signals
High sensitivity, large dynamic range and low contrast detectability, exceeding present charge integrating techniques
No sensitivity to dark currents, allowing for long exposure times under very low intensity illumination (medical applications)